# Delabie Tapware

BPIR Declaration

Version 1.0 October 2023

## Designated Building Product: Class # 1

## Declaration

MacDonald Industries Ltd has provided this declaration to satisfy the provisions of [the Building (Building Product Information Requirements) Regulations 2022]. https://www.legislation.govt.nz/regulation/public/2022/0170/latest/LMS697806.html%23LMS697842%20

## Company Details

|  |  |
| --- | --- |
| Name | MacDonald Industries Ltd |
| Role | Importer |
| NZBN | 9429040640075 |
| Address | 20 Carr Rd, Three Kings, Auckland 1042 |
| Website | https://www.macdonaldindustries.co.nz/home |
| Email | sales@macdonaldindustries.co.nz |
| Phone | +64 9 624 115 |

## description of building product

Delabie uses the term water controls. For the purposes of this BPIR MacDonald Industries is instead using the term tapware, covering fixtures including mixers for basins, taps, showers, and fittings associated with their installation and functioning.

For a complete list of all Delabie tapware supplied by MacDonald industries refer to Delabie Product Catalogue.

Delabie is a French manufacturer of Tap & Sanitary fixtures and has been operating since 1863. They specialise in commercial, hospital and other sectors where performance for tap & sanitary requirements is especially stringent.

MacDonald Industries Ltd supplies Delabie Tapware in accordance with the manufacturer’s intended use and for installation by a registered plumber with experience in commercial plumbing.

## Contribution to building work code obligations

All Delabie tapware is manufactured to the applicable European & UK standard and Declarations of Conformity are available on the Delabie website. MacDonald Industries relies on compliance with the European & UK standards to make the following claims.

Delabie tapware complies with:

* B1 (structure); B1.3.1, B1.3.2, B1.3.3 (a, c, e)
* B2 (durability): B2.3.1 (c)
* F2 (hazardous building materials): F2.3.1.

When installed the Delabie Tapware may contribute to compliance with:

* G1 (Personal Hygiene) G1.3.2(a), G1.3.2(g), G1.3.4
* G2 (Laundering) G2.3.1, G2.3.4
* G3 (Food Preparation & prevention of contamination) G3.3.1(b), G3.3.5
* G12 (Water supplies) G12.3.2. G12.3.5, G12.3.7, G12.3.10

## For further information

Delabie Tapware must be installed, used and maintained in accordance with all information supplied by MacDonald Industries Ltd.

For supporting information refer to https://www.macdonaldindustries.co.nz/home.

## Responsible person

In accordance with Regulation 8, as the responsible person I confirm that the information supplied in this declaration is based on information supplied to the company as well as the company’s own processes and is therefore to the best of my knowledge, correct.

I can also confirm Delabie Tapware products,as referred to in this statement, are not subject to a warning or ban under [s26 of the Building Act].

<https://www.legislation.govt.nz/act/public/2004/0072/latest/DLM306354.html>

#### Signed for and on behalf MacDonald Industries Ltd

Andrew Maddren

Director

October 2023